| Topic | Discussion |
| --- | --- |
| FEMA Letter | - Some LBCA community members received letters from FEMA regarding flood insurance. Francis called Planning Director Hiller West and emailed County Commissioner Janet St.Clair regarding the letter. Frances received information that the letter concerns all of Island County and is being taken care of through county officials. Livingston Bay is not in violation of any FEMA requirements and the letter does not specifically apply to this Community. - Residents are to disregard the letter. |
| Water System Inspection | - Please see inspection report from Washington State Department of Health (DOH) on the LBCA website; some of the information in the report is incorrect and will be addressed through LBCA Board members. The fee for the inspection is $408. - Summary of the report: - Inspector said 3 of the 5 filters are currently in use due to repairs needed on the other 2, The plan for LBCA and King Water is to use parts from filter #5 to repair filter #4 to have 4 working filters; (Water system survey and assessment by Paul Garrison recommended three) the well/water system is 50 years old. - DOH recommends drilling a 2nd well. We are lucky in that saltwater intrusion has not occurred in our community water system/well. The first step would be to identify where a 2nd well could be located, then eventually drill the well when funds are available. Further exploration is needed, and a plan needs to be determined on how to prepare community members and to complete a feasibility study. - A Standard Operating Procedure needs to be developed with King Water. - The tank is good for 5 years with the recent cleaning and resurfacing that was done. - A contingency plan needs to be in place in case our water system is down due to natural disaster, etc. - There was discussion about cross-connection control program (CCCP) mentioned in the report. LBCA and King Water will develop CCCP inspection program to meet this requirement, volunteers/committee will be needed to review recommendations provided in this report. The current inspection is good for 5 years. |
| Water System Water Tank | - The medium used for filtering has gone beyond it anticipated life and should be replacement. There is a new type, or the standard type of medium that can be used. A motion was made by Francis and seconded by John G. to replace the medium with the standard type, which is the same as what is currently being used. A vote was held and passed unanimously. - The outside of the tank is dirty and looks bad. A bid came in at nearly $2,500 to pressure wash, fill in cracks, and stain the outside to improve the appearance of the tank, and to secure the wellhead cover. John will request the bid be reconfigured without the wellhead cover work. John G. made a motion to accept the bid (after the wellhead cover repair work is removed), and have the work done. Tom seconded the motion. A vote was held and passed unanimously. - The wellhead cover needs to be made more secure to prevent tampering. More information to come later as there is a need to determine the best way to do this. - John G. shared information about a recent water test he had done at his cabin in Idaho. He suggested LBCA gets a water sample test to see what is in the water, specifically looking for fungus in the water. The test is $100. |
| Encroachment on Community Property: Beach Side | - An LBCA member asked if they could do some landscaping to clean up the beach in front of their home. They were told yes as long as they only removed invasive plants and replanted with native plants, as is approved for anyone to do within 10 feet of their home. The homeowner took it a step further and put in some unapproved items. They were told to stop the work they were doing and meet with the Board, and they did stop. Further communication is needed between the Board and the homeowner to review landscape plans. John G. made a motion to reject the current landscape plan submitted, Tom seconded the motion, and the motion passed with 1 opposing LBCA member. - NOTE for all homeowners on beach side: the swell dike needs to remain in place and be clear to serve its purpose to help prevent flooding. The driftwood cannot be moved, people can go over it or through it. - It was suggested that a letter be given to new residents at time of home purchase, so they are aware of these conditions. - Money collected from the Boren settlement can be used to clean out the swell dike and clean up access to community property, with a goal of keeping everything natural and simple. |
| Culvert Replacement | - Tom and Francis attended a meeting about salmon restoration (regarding the culvert) with many interested organizations/people in attendance. Discussions at the meeting included completing a feasibility study to find options to help salmon restoration. It will likely be 5-10 years before any physical work commences on the culvert. |
| Bi-laws Committee | - Tom reported that some movement has been made. Some easy changes were made along with some lists of items needing additional information or details. |
| Budget Report Open Board Position Letter from Lot Owner in Division 2 | - 2019 closing report of approx. $115,000 in the bank for LBCA. All reserves and operating funds will be carried over for capital improvements. - Mike Yonker has sold his home in Livingston Bay and is no longer a board member but will continue to do the budget from afar for a nominal fee. A notice and solicitation for his replacement will be sent out later. QuickBooks system will move to an online accessible account so other Board members can access the system…more information will come in the near future. - Community members asked about LBCA having a reserve fund. John G. made a motion to do a reserve study for the budget to see if LBCA needs to separate out reserves from general operating budget, Tom seconded the motion, and the motion passed. - Referred to Executive Meeting |